## Sheet1
Sample Preventative Maintenance Schedule
| Area / Building System | Frequency | Scheduled Date | Item | Performed By | Task | Completion Date | Initial
Common Areas - Maintenance and Safety Inspection
| Common Areas | Weekly |  | Conduct Inspection/Address Issues | Staff | Inspect/Clean/Replace Lighting
| Appliances | Annual |  | Conduct Inspection of Appliances/Clean Condensers | Staff | Inspect/Repair/Service/Clean
| Laundry Equipment | Quarterly |  | Conduct Inspection of Laundry/Clean Exhaust | Staff | Inspect/Repair/Service/Clean
| Maintenance Areas | Quarterly |  | Conduct Inspection/Address Issues | Staff | Clean/Replace Lighting
Site - Maintenance and Safety Inspection
| Grounds | Monthly |  | Visual Inspection | Staff | Inspect Sod/Quality
| Grounds | Semi-Annual |  | Storm Drains - Catch basins and storm drains | Staff | Clean/Replace missing covers
| Pest Control | Semi-Annual |  | Interior/Exterior Pest Control | Staff | Check for application, etc.
| Irrigation | Annual |  | Backflow preventer | Vendor | Inspect/test/repair
| Irrigation (In Season) | Monthly |  | Irrigation lines & sprinkler heads | Staff | Inspect/adjust/repair
| Irrigation | Quarterly |  | Irrigation controllers & timers | Staff | Check & reset
| Parking Lots/Driveways | Monthly |  | Automatic vehicle gates | Staff | Inspect/repair
| Generator | Annual |  | Test runs-exercise, full load | Vendor | Check documents
| Generator | Monthly |  | Exercise run, check oil, fuel, visual inspection | Staff | Physical run
Building exterior - Maintenance and Safety Inspection
| Doors | Quarterly |  | Hardware, locks, latches, closers & Weather Stripping | Staff | Inspect/Repair/Replace
| Siding/Paint/Pointing | Semi-Annual |  | Inspect all exterior walls | Staff | Inspect/Repair
| Windows | Annual |  | Wash, Inspect sills, glazing, caulking | Staff | Inspect/Repair
| Fire Escapes | Annual |  | Components/Function | Staff | Inspect/Repair
| Exterior Lighting | Monthly |  | Inspect/replace as needed | Staff | Clean/Repair
| Roof | Semi-Annual |  | Vents, Gutters, Drains, Downspouts | Staff | Inspect/Clean/Repair
| Roof | Annual |  | Visual Inspection Roof Surface/Flashing | Staff | Inspect/Clean/Repair
| Skylights | Annual |  | Visual Inspection | Staff | Inspect/Clean/Repair
Apartment Units - Unit Inspections
| Apartments | Monthly |  | Annual Inspection - 10% Each Month | Staff | Inspect/Repair/Replace
| Apartments | Quarterly |  | Smoke/CO Detector - Check Operation | Staff | Clean/replace batteries
| Apartments | Annual |  | HVAC Visual/Operational Inspection | Staff | Inspect/Repair
Building systems and equipment - Maintenance and Safety Inspection
| Sewage/Sewage Ejector | Quarterly |  | Sewer System(s) Inspections | Staff/Vendor | Inspect/test
| Sump pump | Annual |  | Inspect/Test | Staff/Vendor | Inspect/test/Service
| Grease Trap | Monthly |  | Clean | Staff | Inspect/Clean
| Garage | Annual |  | Garage Doors, CO Evacuation Systems, Electrical | Staff | Inspect/Clean
| Furnace | Quarterly |  | Maintenance | Vendor | Inspect/Service
| Rooftop HVAC/Chiller | Monthly |  | Vendor inspection | Staff | Inspect/Service
| Rooftop HVAC/Chiller | Annual |  | Annual Inspection Checklist | Vendor | Maintenance
| Common Area HVAC | Monthly |  | Vendor inspection | Staff | Inspect/Service
| Common Area HVAC | Annual |  | Annual Inspection | Vendor | Maintenance
| Solar Thermal (Hot Water) | Annual |  | Solar Hot Water Heater - Annual Inspection | Vendor | Inspect/test
| Solar Thermal (Hot Water) | Quarterly |  | Visual Inspection/Clean Panels | Staff | Inspect/Clean
| Solar PV (Electric) | Annual |  | Annual Inspection | Vendor | Inspect/test
| Solar PV (Electric) | Quarterly |  | Visual Inspection/Clean Panels | Staff | Inspect/Clean
| HVAC Filters | Quarterly |  | Replace filters | Staff | Clean/Replace
| HVAC Service | Quarterly |  | Vendor inspection | Vendor | Inspection/Maintenance
| Wheelchair lift | Semi-Annual |  | Test | Staff | Inspect/Test/Service
| Wheelchair lift | Annual |  | Permit | Staff | Cal/OSHA Elevator Division
| Elevators | Quarterly |  | Elevator Operation & Safety | Vendor | Routine service
| Elevators | Annual |  | Elevator permit | Vendor | Ensure current & posted
| Elevators | 5 years |  | Load test, insert date test is due | Vendor | Ensure current
| Domestic Hot Water | Quarterly |  | Staff inspection | Staff | Inspect/Service
| Boilers/Water Heater | Annual |  | Vendor inspection/maintenance | Vendor | Inspection/Maintenance
| Boiler (Heating) | Monthly |  | Staff inspection | Staff | Inspect/Service
| Boiler (Heating) | Annual |  | Completed Annual Heating Boiler Inspection | Vendor | Inspect/Service
| Telecom System | Annual |  | Staff inspection | Staff | Inspect/clean
| Access to electrical panels | Annual |  | Staff inspection | Staff | Inspect/clean
Life Safety
| Emergency Lighting & Exit Signs | Quarterly |  | Staff inspection | Staff | Inspect/Test/Replace
| Fire Alarm System | Annual |  | Permit | Vendor | Fire Electric
| Fire Alarm System | Annual |  | Testing | Staff/Vendor | Test System/Drill
| Fire Alarm System | Semi-Annual |  | Certification | Vendor
| Fire Extinguishers | Annual |  | Certification | Vendor
| Fire Extinguishers | Annual |  | Permit | Vendor | Fire Master
| Fire Sprinkler/Hoses | Annual |  | Staff inspection | Staff | Inspect/Service
| Fire Sprinkler/Hoses | Every 5 years |  | Certification | Vendor
| Fire Sprinkler/Hoses |  |  | Permit | Staff
| Fire/CO Protection | Weekly |  | Circulating pump | Staff | Inspect/Service
| Fire/CO Protection | Semi-Annual |  | Circulating pump(s), as applicable | Vendor | Maintenance